{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["水路常用维修耗材报价表","电路常用维修耗材报价表","五金建材常用维修耗材报价表","水暖洁具常用维修耗材报价表","学生宿舍维修常用材料报价表"],"not_rendered":{"external_links":1,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"水路常用维修耗材报价表","index":0,"n_rows":125,"n_cols":8,"rows_kept":125,"merged":[[0,0,0,7],[1,0,1,7],[6,0,7,0],[6,1,7,1],[13,0,16,0],[13,1,16,1],[17,0,20,0],[17,1,20,1],[21,0,24,0],[21,1,24,1],[25,0,28,0],[25,1,28,1],[29,0,34,0],[29,1,34,1],[29,7,34,7],[35,0,40,0],[35,1,40,1],[35,7,40,7],[41,0,44,0],[41,1,44,1],[45,0,50,0],[45,1,50,1],[45,7,50,7],[51,0,56,0],[51,1,56,1],[57,0,62,0],[57,1,62,1],[57,7,62,7],[63,0,68,0],[63,1,68,1],[63,7,79,7],[69,0,74,0],[69,1,74,1],[75,0,78,0],[75,1,78,1],[80,0,82,0],[80,1,82,1],[83,0,84,0],[83,1,84,1],[85,0,86,0],[85,1,86,1],[87,0,88,0],[87,1,88,1],[87,7,94,7],[89,0,90,0],[89,1,90,1],[91,0,94,0],[91,1,94,1],[95,0,100,0],[95,1,100,1],[95,7,100,7],[101,0,106,0],[101,1,106,1],[101,7,122,7],[107,0,110,0],[107,1,110,1],[111,0,116,0],[111,1,116,1],[117,0,122,0],[117,1,122,1],[124,0,124,7]],"flags":["formulas_cached_only"]}
["表1：水路常用维修材料报价表"]
["投标人(签章)：                                   日期：   年   月  日"]
["序号","材料名称","规格型号","预估数量","单价  （元）","保修期（天）","品牌","备注"]
[1,"水龙头","合金Φ15","200个",{"$nulls":3},"合格国标"]
[2,"水龙头","磁芯","200个",{"$nulls":3},"合格国标"]
[3,"水龙头","阀帽","100个",{"$nulls":3},"合格国标"]
[4,"混合龙头（面盆）","单孔","100个",{"$nulls":3},"合格国标"]
[null,null,"双孔","100个",{"$nulls":3},"合格国标"]
[5,"混合龙头（淋浴）"," 双孔","50个",{"$nulls":3},"合格国标"]
[6,"淋浴软管",null,"50个",{"$nulls":3},"合格国标"]
[7,"淋浴花洒",null,"50个",{"$nulls":3},"合格国标"]
[8,"面盆污水管（套）",null,"200套",{"$nulls":3},"合格国标"]
[9,"生胶带",null,"200个",{"$nulls":3},"合格国标"]
[10,"浮球阀","Φ50","30套",{"$nulls":3},"合格国标"]
[null,null,"Φ40","30套",{"$nulls":3},"合格国标"]
[null,null,"Φ20","30套",{"$nulls":3},"合格国标"]
[null,null,"Φ15","30套",{"$nulls":3},"合格国标"]
[11,"铸铁球阀","Φ50","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ40","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ20","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ15","300个",{"$nulls":3},"合格国标"]
[12,"铸铁盘阀","Φ50","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ40","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ20","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ15","10个",{"$nulls":3},"合格国标"]
[13,"热镀锌水管","Φ50","5根",{"$nulls":3},"合格国标"]
[null,null,"Φ40","5根",{"$nulls":3},"合格国标"]
[null,null,"Φ20","10根",{"$nulls":3},"合格国标"]
[null,null,"Φ15","30根",{"$nulls":3},"合格国标"]
[14,"PPR水管               ","Φ63","2根",null,null,"联塑","合格国标"]
[null,null,"Φ50","10根",null,null,"联塑"]
[null,null,"Φ40","10根",null,null,"联塑"]
[null,null,"Φ32","50根",null,null,"联塑"]
[null,null,"Φ25","50根",null,null,"联塑"]
[null,null,"Φ20","50根",null,null,"联塑"]
[15,"PE水管","Φ63","2根",{"$nulls":3},"合格国标"]
[null,null,"Φ50","10根"]
[null,null,"Φ40","10根"]
[null,null,"Φ32","20根"]
[null,null,"Φ25","20根"]
[null,null,"Φ20","20根"]
[16,"铁                    三通/内、外直接/弯头","Φ50","30个",{"$nulls":3},"合格国标"]
[null,null,"Φ40","30个",{"$nulls":3},"合格国标"]
[null,null,"Φ20","30个",{"$nulls":3},"合格国标"]
[null,null,"Φ15","30个",{"$nulls":3},"合格国标"]
[17,"PPR               三通/内、外直接/弯头","Φ63","20个",null,null,"联塑","合格国标"]
[null,null,"Φ50","200个",null,null,"联塑"]
[null,null,"Φ40","200个",null,null,"联塑"]
[null,null,"Φ32","200个",null,null,"联塑"]
[null,null,"Φ25","200个",null,null,"联塑"]
[null,null,"Φ20","200个",null,null,"联塑"]
[18,"PE               三通/内、外直接/弯头","Φ63","20个",{"$nulls":3},"合格国标"]
[null,null,"Φ50","100个",{"$nulls":3},"合格国标"]
[null,null,"Φ40","100个",{"$nulls":3},"合格国标"]
[null,null,"Φ32","100个",{"$nulls":3},"合格国标"]
[null,null,"Φ25","100个",{"$nulls":3},"合格国标"]
[null,null,"Φ20","100个",{"$nulls":3},"合格国标"]
[19,"PPR阀门（截止阀）","Φ63","20个",null,null,"联塑","合格国标"]
[null,null,"Φ50","50个",null,null,"联塑"]
[null,null,"Φ40","100个",null,null,"联塑"]
[null,null,"Φ32","100个",null,null,"联塑"]
[null,null,"Φ25","100个",null,null,"联塑"]
[null,null,"Φ20","100个",null,null,"联塑"]
[20,"PE阀门（截止阀）","Φ63","20个",{"$nulls":3},"合格国标"]
[null,null,"Φ50","20个"]
[null,null,"Φ40","20个"]
[null,null,"Φ32","20个"]
[null,null,"Φ25","20个"]
[null,null,"Φ20","20个"]
[21,"PPR阀门（铜阀）","Φ63","10个"]
[null,null,"Φ50","20个"]
[null,null,"Φ40","50个"]
[null,null,"Φ32","50个"]
[null,null,"Φ25","50个"]
[null,null,"Φ20","10个"]
[22,"清水软管","Φ20*40cm","100个"]
[null,null,"Φ20*60cm","100个"]
[null,null,"Φ20*80cm","100个"]
[null,null,"Φ20*100cm","100个"]
[23,"不锈钢内外丝接头","Φ15","100个"]
[24,"小便冲洗阀    （铜制）","电磁感应","200个",{"$nulls":3},"合格国标"]
[null,null,"常规","300个",{"$nulls":3},"合格国标"]
[null,null,"快开式","100个",{"$nulls":3},"合格国标"]
[25,"大便冲洗阀    （铜制）","常规","300个",{"$nulls":3},"合格国标"]
[null,null,"快开式","100个",{"$nulls":3},"合格国标"]
[26,"大便冲洗阀配件（不锈钢）","弹簧","200个",{"$nulls":3},"合格国标"]
[null,null,"阀帽","200个",{"$nulls":3},"合格国标"]
[27,"背水箱","进水阀","100套",{"$nulls":3},"合格国标"]
[null,null,"出水阀","100套"]
[28,"马桶","进水阀","50套"]
[null,null,"出水阀","50套"]
[29,"铸铁快接","Φ50","20个"]
[null,null,"Φ40","20个"]
[null,null,"Φ20","30个"]
[null,null,"Φ15","30个"]
[30,"PPR快接","Φ63","10个",null,null,"联塑","合格国标"]
[null,null,"Φ50","20个",null,null,"联塑"]
[null,null,"Φ40","50个",null,null,"联塑"]
[null,null,"Φ32","50个",null,null,"联塑"]
[null,null,"Φ25","50个",null,null,"联塑"]
[null,null,"Φ20","50个",null,null,"联塑"]
[31,"PE快接","Φ63","10个",{"$nulls":3},"合格国标"]
[null,null,"Φ50","20个"]
[null,null,"Φ40","20个"]
[null,null,"Φ32","20个"]
[null,null,"Φ25","20个"]
[null,null,"Φ20","20个"]
[32,"铸铁抱箍","Φ50","20个"]
[null,null,"Φ40","20个"]
[null,null,"Φ20","20个"]
[null,null,"Φ15","20个"]
[33,"PPR抱箍","Φ63","20个"]
[null,null,"Φ50","20个"]
[null,null,"Φ40","20个"]
[null,null,"Φ32","20个"]
[null,null,"Φ25","20个"]
[null,null,"Φ20","20个"]
[34,"PE抱箍","Φ63","10个"]
[null,null,"Φ50","10个"]
[null,null,"Φ40","10个"]
[null,null,"Φ32","10个"]
[null,null,"Φ25","10个"]
[null,null,"Φ20","10个"]
[null,"合计"]
["备注：1.供应期限：2020年8月1日-2023年7月31日。2.投标人需完整填写表1-表5中的单价、保修期、品牌以及合计单价，出现漏项的报价无效。                                                                               2.投标人在签章处及合计单价处盖公司章，未盖章的报价单无效。"]

{"sheet":"电路常用维修耗材报价表","index":1,"n_rows":85,"n_cols":8,"rows_kept":85,"merged":[[0,0,0,7],[1,0,1,7],[3,0,8,0],[3,1,8,1],[9,0,10,0],[9,1,10,1],[11,0,12,0],[11,1,12,1],[13,0,14,0],[17,0,24,0],[17,1,24,1],[26,0,28,0],[26,1,28,1],[29,0,31,0],[29,1,31,1],[32,0,33,0],[32,1,33,1],[34,0,35,0],[34,1,35,1],[36,0,37,0],[36,1,37,1],[38,0,41,0],[38,1,41,1],[42,0,44,0],[42,1,44,1],[46,0,47,0],[46,1,47,1],[48,0,52,0],[48,1,52,1],[53,0,60,0],[53,1,60,1],[61,0,64,0],[61,1,64,1],[65,0,68,0],[65,1,68,1],[69,0,74,0],[69,1,74,1],[84,0,84,7]],"flags":["formulas_cached_only"]}
["表2：电路常用维修材料报价表"]
["投标人(签章)：                                      日期：   年   月  日"]
["序号","材料名称","规格型号","预估数量","单价（元）","保修期（天）","品牌","备注"]
[1,"LED灯泡","3W","100个",null,null,"飞利浦","合格产品\n"]
[null,null,"6W","200个",null,null,"飞利浦","合格产品\n"]
[null,null,"9W","200个",null,null,"飞利浦","合格产品\n"]
[null,null,"12W","200个",null,null,"飞利浦","合格产品\n"]
[null,null,"24W","200个",null,null,"飞利浦","合格产品\n"]
[null,null,"36W","200个",null,null,"飞利浦","合格产品\n"]
[2,"LED T8灯管","1.2米 16-20W","500支",null,null,"佛山照明","合格产品\n"]
[null,null,"0.6米 6-10W","200支",null,null,"佛山照明","合格产品\n"]
[3,"LEDT8灯管(一体式）","1.2米 16-20W","200支",null,null,"佛山照明","合格产品\n"]
[null,null,"0.6米 6-10W","100支",null,null,"佛山照明","合格产品\n"]
[4,"LED圆形吸顶灯","雷达微波感应","100个",null,null,"飞利浦","合格产品\n"]
[null,"LED圆形吸顶灯","灯源","100个",null,null,"飞利浦","合格产品\n"]
[5,"LED平板灯\n（铝合金）","60*60","100个",null,null,"飞利浦","合格产品\n"]
[6,"LED泛光灯","60W-100W","30个",null,null,"飞利浦","合格产品\n"]
[7,"空气开关","16A/1p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"32A/2p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"32A/3p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"63A/1p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"63A/2p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"63A/3p        ","100个",null,null,"德力西","合格产品\n"]
[null,null,"80A/3p        ","50个",null,null,"德力西","合格产品\n"]
[null,null,"100A/3p        ","50个",null,null,"德力西","合格产品\n"]
[8,"时控器",null,"20个",null,null,"德力西","合格产品\n"]
[9,"声控开关","明装","100个",null,null,"德力西","合格产品\n"]
[null,null,"暗装","100个",null,null,"德力西","合格产品\n"]
[null,null,"灯内","100个",null,null,"德力西","合格产品\n"]
[10,"雷达微波感应开关","明装","50个",null,null,"德力西","合格产品\n"]
[null,null,"暗装","50个",null,null,"德力西","合格产品\n"]
[null,null,"灯内","50个",null,null,"德力西","合格产品\n"]
[11,"10A插座（5孔）","明装","50个",null,null,"德力西","合格产品\n"]
[null,null,"暗装","50个",null,null,"德力西","合格产品\n"]
[12,"16A插座（5孔）","明装","30个",null,null,"德力西","合格产品\n"]
[null,null,"暗装","30个",null,null,"德力西","合格产品\n"]
[13,"明装开关","1联","100个",null,null,"德力西","合格产品\n"]
[null,null,"2联","100个",null,null,"德力西","合格产品\n"]
[14,"暗装开关","1联","50个",null,null,"德力西","合格产品\n"]
[null,null,"2联","50个",null,null,"德力西","合格产品\n"]
[null,null,"3联","50个",null,null,"德力西","合格产品\n"]
[null,null,"5联","50个",null,null,"德力西","合格产品\n"]
[15,"电表","5A单相","50块",null,null,"正泰","合格产品\n"]
[null,null,"10A单相","60块",null,null,"正泰","合格产品\n"]
[null,null,"5A三相","20块",null,null,"正泰","合格产品\n"]
[16,"双色花线","2*1","5圈",null,null,"昆电电工","合格产品\n"]
[17,"RVV铜塑护套软线","2*2.5","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"2*4","5圈",null,null,"昆电电工","合格产品\n"]
[18,"BVR铜塑软线",2.5,"10圈",null,null,"昆电电工","合格产品\n"]
[null,null,4,"10圈",null,null,"昆电电工","合格产品\n"]
[null,null,6,"10圈",null,null,"昆电电工","合格产品\n"]
[null,null,10,"10圈",null,null,"昆电电工","合格产品\n"]
[null,null,16,"5圈",null,null,"昆电电工","合格产品\n"]
[19,"YJV电缆","3*6","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"3*10","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"4*4","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"4*6","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"4*10","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"3*4+1*2.5","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"3*6+1*4","5圈",null,null,"昆电电工","合格产品\n"]
[null,null,"3*10+1*6","5圈",null,null,"昆电电工","合格产品\n"]
[20,"PVC线管","Φ16","20根",{"$nulls":3},"合格加厚"]
[null,null,"Φ20","20根",{"$nulls":3},"合格加厚"]
[null,null,"Φ25","20根",{"$nulls":3},"合格加厚"]
[null,null,"Φ32","20根",{"$nulls":3},"合格加厚"]
[21,"PVC               三通/内、外直接/弯头","Φ16","50个",{"$nulls":3},"合格加厚"]
[null,null,"Φ20","50个",{"$nulls":3},"合格加厚"]
[null,null,"Φ25","50个",{"$nulls":3},"合格加厚"]
[null,null,"Φ32","50个",{"$nulls":3},"合格加厚"]
[22,"线卡","Φ8","10包",{"$nulls":3},"合格加厚"]
[null,null,"Φ10","10包",{"$nulls":3},"合格加厚"]
[null,null,"Φ16","5包",{"$nulls":3},"合格加厚"]
[null,null,"Φ20","5包",{"$nulls":3},"合格加厚"]
[null,null,"Φ25","5包",{"$nulls":3},"合格加厚"]
[null,null,"Φ32","5包",{"$nulls":3},"合格加厚"]
[23,"膨胀套","Φ6/8","500颗",{"$nulls":3},"国标合格"]
[24,"3孔插头","10A/16A","50个",null,null,"德力西","国标合格"]
[25,"防爆地拖插座","3插位","20个",null,null,"德力西","国标合格"]
[26,"移动式插排（无线）","5插位","30个",null,null,"德力西","国标合格"]
[27,"浴霸灯","275W","50个",{"$nulls":3},"国标合格"]
[28,"浴霸照明灯",null,"50个",{"$nulls":3},"国标合格"]
[29,"绝缘胶带",null,"100卷",null,null,"3M","合格产品"]
[30,"螺旋灯头","E27","50个",{"$nulls":3},"国标合格"]
[null,"合计"]
["备注：1.供应期限：2020年8月1日-2023年7月31日。2.投标人需完整填写表1-表5中的单价、保修期、品牌以及合计单价，出现漏项的报价无效。                                                                               2.投标人在签章处及合计单价处盖公司章，未盖章的报价单无效。"]

{"sheet":"五金建材常用维修耗材报价表","index":2,"n_rows":76,"n_cols":8,"rows_kept":76,"merged":[[0,0,0,7],[1,0,1,7],[39,0,40,0],[39,1,40,1],[41,0,42,0],[41,1,42,1],[43,0,44,0],[43,1,44,1],[45,1,49,1],[50,1,52,1],[53,1,54,1],[55,1,56,1],[57,1,58,1],[59,1,60,1],[61,1,62,1],[63,1,64,1],[65,1,67,1],[68,1,70,1],[71,1,73,1],[75,0,75,7]],"flags":["formulas_cached_only"]}
["表3：五金建材常用维修材料报价表"]
["投标人(签章)：                                            日期：   年   月  日"]
["序号","材料名称","规格型号","预估数量","单价（元）","保修期（天）","品牌","备注"]
[1,"铁拉手","大号","10个",{"$nulls":3},"合格国标"]
[2,"塑钢门合页（加厚）",null,"20付",{"$nulls":3},"合格国标"]
[3,"PVC门合页(加厚)",null,"50付",{"$nulls":3},"合格国标"]
[4,"外门锁","普通型","100把",null,null,"安得利","合格"]
[5,"衣柜锁扣","7字型","2000付",{"$nulls":3},"合格国标"]
[6,"抽屉锁扣","Z字型","100个",{"$nulls":3},"合格国标"]
[7,"玻璃胶","透明型","30瓶",{"$nulls":3},"合格国标"]
[8,"防锈漆","大桶","1桶",null,null,"灰色石林","合格国标"]
[9,"电焊条","2.5 mm","5包",null,null,"大西洋","合格"]
[10,"稀释剂","大桶","1桶",{"$nulls":3},"合格国标"]
[11,"防盗门锁体",null,"20把",{"$nulls":3},"合格国标"]
[12,"防盗门铜锁芯",null,"20套",{"$nulls":3},"合格国标"]
[13,"防盗门内外把手(加厚)",null,"10套",{"$nulls":3},"合格国标"]
[14,"U型鞋柜拉手(铝合金)","中号","50个",{"$nulls":3},"合格国标"]
[15,"单孔衣柜拉手(加厚)","中号","100个",{"$nulls":3},"合格国标"]
[16,"麻花钻头","5mm","100棵",{"$nulls":3},"合格国标"]
[17,"球形锁","不带钥匙","60把",{"$nulls":3},"合格国标"]
[18,"球形锁舌","短舌","50个",{"$nulls":3},"合格国标"]
[19,"钻尾螺丝","5×50","1盒",{"$nulls":3},"合格国标"]
[20,"铝合金窗帘杆(加厚)","2.4m长","50根",{"$nulls":3},"合格国标"]
[21,"塑料膨胀套","8mm","500棵",{"$nulls":3},"合格国标"]
[22,"普通铁合页","120mm长","20付",{"$nulls":3},"合格国标"]
[23,"塑料拉手(加厚)","U型加厚","50个",{"$nulls":3},"合格国标"]
[24,"切割片","350×3mm","5片",{"$nulls":3},"合格国标"]
[25,"瓷灯头","7字脚","50个",{"$nulls":3},"合格国标"]
[26,"飞机合页(加厚)",null,"30付",{"$nulls":3},"合格国标"]
[27,"鞋柜导向轮(加厚)","45-50mm","300个",{"$nulls":3},"合格国标"]
[28,"镀锌铁丝","12#","1圈",{"$nulls":3},"合格国标"]
[29,"不锈钢毛巾钩","6钩","100付",{"$nulls":3},"合格国标"]
[30,"油漆刷","50mm宽","10把",{"$nulls":3},"合格国标"]
[31,"氩气枪焊嘴",null,"20个",{"$nulls":3},"合格国标"]
[32,"氩气枪焊针",null,"1盒",{"$nulls":3},"合格国标"]
[33,"墙纸刀",null,"5把",{"$nulls":3},"合格国标"]
[34,"墙纸刀片",null,"5盒",{"$nulls":3},"合格国标"]
[35,"螺帽","￠10","100棵",{"$nulls":3},"合格国标"]
[36,"平垫片(加厚特大)","￠10","300棵",{"$nulls":3},"合格国标"]
[37,"螺杆","10×80","100棵",{"$nulls":3},"合格国标"]
[null,null,"10×70","100棵",{"$nulls":3},"合格国标"]
[39,"拉铆钉","5×20","10盒",{"$nulls":3},"合格国标"]
[null,null,"5×30","15盒",{"$nulls":3},"合格国标"]
[41,"膨胀钩","8mm","50个",{"$nulls":3},"合格国标"]
[null,null,"6mm","50个",{"$nulls":3},"合格国标"]
[43,"自攻螺丝","3.5×40","1公斤",{"$nulls":3},"合格国标"]
[44,null,"3.5×35","1公斤",{"$nulls":3},"合格国标"]
[45,null,"3.5×20","1公斤",{"$nulls":3},"合格国标"]
[46,null,"3.5×15","3公斤",{"$nulls":3},"合格国标"]
[47,null,"4×25","1公斤",{"$nulls":3},"合格国标"]
[48,"标准螺丝","4×8","1公斤",{"$nulls":3},"合格国标"]
[49,null,"5×8","1公斤",{"$nulls":3},"合格国标"]
[50,null,"5×20","1公斤",{"$nulls":3},"合格国标"]
[51,"椅子脚套(加厚)","圆形,内径25mm","5000个",{"$nulls":3},"合格国标"]
[52,null,"方形,内径25×25mm","5000个",{"$nulls":3},"合格国标"]
[53,"水泥钉","3×30","2盒",{"$nulls":3},"合格国标"]
[54,null,"3×40","2盒",{"$nulls":3},"合格国标"]
[55,"角磨片","加厚","50片",{"$nulls":3},"合格国标"]
[56,null,"3mm厚","100片",{"$nulls":3},"合格国标"]
[57,"不锈钢插销(加厚)","大号","30个",{"$nulls":3},"合格国标"]
[58,null,"小号","20个",{"$nulls":3},"合格国标"]
[59,"抽屉轨道(加厚)","二节型","100付",{"$nulls":3},"合格国标"]
[60,null,"三节型","200付",{"$nulls":3},"合格国标"]
[61,"铁钉","50mm长","5公斤",{"$nulls":3},"合格国标"]
[62,null,"20mm长","1件",{"$nulls":3},"合格国标"]
[63,"PVC弯头","DN16","50个",{"$nulls":3},"合格国标"]
[64,null,"DN20","50个",{"$nulls":3},"合格国标"]
[65,null,"DN25","30个",{"$nulls":3},"合格国标"]
[66,"PVC线管(加厚)","DN16","20根",{"$nulls":3},"合格国标"]
[67,null,"DN20","20根",{"$nulls":3},"合格国标"]
[68,null,"DN25","20根",{"$nulls":3},"合格国标"]
[69,"PVC管卡(加厚)","DN16","1包",{"$nulls":3},"合格国标"]
[70,null,"DN20","1包",{"$nulls":3},"合格国标"]
[71,null,"DN25","1包",{"$nulls":3},"合格国标"]
[null,"合计"]
["备注：1.供应期限：2020年8月1日-2023年7月31日。2.投标人需完整填写表1-表5中的单价、保修期、品牌以及合计单价，出现漏项的报价无效。                                                                               2.投标人在签章处及合计单价处盖公司章，未盖章的报价单无效。"]

{"sheet":"水暖洁具常用维修耗材报价表","index":3,"n_rows":88,"n_cols":8,"rows_kept":88,"merged":[[0,0,0,7],[1,0,1,7],[29,1,30,1],[31,1,32,1],[33,1,34,1],[35,1,36,1],[38,1,40,1],[41,1,42,1],[43,1,44,1],[45,1,46,1],[47,1,48,1],[49,1,50,1],[51,1,55,1],[56,1,57,1],[58,1,63,1],[64,1,67,1],[68,1,70,1],[71,1,73,1],[71,2,72,2],[71,3,72,3],[71,4,72,4],[71,5,72,5],[74,1,78,1],[79,1,80,1],[81,1,82,1],[84,1,85,1],[87,0,87,7]],"flags":["formulas_cached_only"]}
["表4：水暖洁具常用维修材料报价表"]
["投标人(签章)：                                            日期：   年   月  日"]
["序号","材料名称","规格型号","预估数量","单价（元）","保修期（天）","品牌","备注"]
[1,"台盆双混龙头(铜制)",null,"100个",{"$nulls":3},"合格国标"]
[2,"台盆单进水龙头(铜制)",null,"200个",{"$nulls":3},"合格国标"]
[3,"脸盆下水软管",null,"500条",{"$nulls":3},"合格国标"]
[4,"脸盆下水总承(不锈钢)",null,"100个",{"$nulls":3},"合格国标"]
[5," 双混龙头芯",null,"50个",{"$nulls":3},"合格国标"]
[6,"淋浴软管","1.5m长","100条",{"$nulls":3},"合格国标"]
[7,"淋浴瓢式喷头",null,"30个",{"$nulls":3},"合格国标"]
[8,"快开冲水阀(铜制)","DN20","100个",{"$nulls":3},"合格国标"]
[9,"快开冲水阀手把(加厚大体)",null,"30个",{"$nulls":3},"合格国标"]
[10,"台上陶瓷脸盆","20寸","20个",{"$nulls":3},"合格国标"]
[11,"陶瓷拖把池",null,"10个",{"$nulls":3},"合格国标"]
[12,"龙头手轮(加厚)",null,"500个",{"$nulls":3},"合格国标"]
[13,"铜龙头芯子",null,"500个",{"$nulls":3},"合格国标"]
[14,"双混龙头手把(铝质加厚)",null,"50个",{"$nulls":3},"合格国标"]
[15,"PVC冲水箱(加厚)",null,"10套",{"$nulls":3},"合格国标"]
[16,"冲水箱进水浮球阀",null,"50套",{"$nulls":3},"合格国标"]
[17,"PVC冲水管(加厚)","DN50","10套",{"$nulls":3},"合格国标"]
[18,"双混淋浴龙头(铜制)","上出水","10套",{"$nulls":3},"合格国标"]
[19,"快开水龙头","DN15","100个",{"$nulls":3},"合格国标"]
[20,"不锈钢外丝直接","DN15","20个",{"$nulls":3},"合格国标"]
[21,"铁外丝直接","DN15","30个",{"$nulls":3},"合格国标"]
[22,"铁六角堵帽","DN15","30个",{"$nulls":3},"合格国标"]
[23,"冲水阀硅胶垫圈","大号","100个",{"$nulls":3},"合格国标"]
[24,"龙头芯硅胶垫圈","小号","200个",{"$nulls":3},"合格国标"]
[25,"冷镀锌管","DN15","30根",{"$nulls":3},"合格国标"]
[26,"PVC快干型粘合胶","1㎏装","2瓶",{"$nulls":3},"合格国标"]
[27,"进水红绿软管","80cm长","300条",{"$nulls":3},"合格国标"]
[28,null,"60 cm长","50条",{"$nulls":3},"合格国标"]
[29,"铁堵头","1′","30个",{"$nulls":3},"合格国标"]
[30,null,"2020-03-04","30个",{"$nulls":3},"合格国标"]
[31,"PE内丝弯头","32×3/4","30个",{"$nulls":3},"合格国标"]
[32,null,"32×1′","20个",{"$nulls":3},"合格国标"]
[33," PE截止阀","DN50","10个",{"$nulls":3},"合格国标"]
[34,null,"DN32","40个",{"$nulls":3},"合格国标"]
[35,"PE内丝直接","32×1′","30个",{"$nulls":3},"合格国标"]
[36,"  PE弯头","DN50","10个",{"$nulls":3},"合格国标"]
[37,null,"DN32","30个",{"$nulls":3},"合格国标"]
[38,null,"40×32","30个",{"$nulls":3},"合格国标"]
[39,"PE直接","DN40","50个",{"$nulls":3},"合格国标"]
[40,null,"DN32","30个",{"$nulls":3},"合格国标"]
[41,"PE三通","50×32","10个",{"$nulls":3},"合格国标"]
[42,null,"DN32","20个",{"$nulls":3},"合格国标"]
[43,"PE直管","DN50","3根",{"$nulls":3},"合格国标"]
[44,null,"DN32","3根",{"$nulls":3},"合格国标"]
[45,"PE内丝三通","32×1/2","10个",{"$nulls":3},"合格国标"]
[46,null,"DN63","5个",{"$nulls":3},"合格国标"]
[47,"PP-R双活接球阀(铜制大体)","DN50","5个",{"$nulls":3},"合格国标"]
[48,null,"DN25","50个",{"$nulls":3},"合格国标"]
[49,"PP-R内丝直接","32×3/4","10个",null,null,"联塑","合格国标"]
[50,null,"25×3/4","20个",null,null,"联塑","合格国标"]
[51,null,"25×1/2","30个",null,null,"联塑","合格国标"]
[52,null,"20×1/2","30个",null,null,"联塑","合格国标"]
[53,null,"25×3/4","10个",null,null,"联塑","合格国标"]
[54,"PP-R内丝弯头","25×1/2","10个",null,null,"联塑","合格国标"]
[55,null,"20×1/2","10个",null,null,"联塑","合格国标"]
[56,"PP-R截止阀","DN50","10个",null,null,"联塑","合格国标"]
[57,null,"DN32","80个",null,null,"联塑","合格国标"]
[58,null,"DN25","30个",null,null,"联塑","合格国标"]
[59,null,"DN63","15个",null,null,"联塑","合格国标"]
[60,null,"DN50","10个",null,null,"联塑","合格国标"]
[61,null,"DN32","80个",null,null,"联塑","合格国标"]
[62,"PP-R直接","DN25","80个",null,null,"联塑","合格国标"]
[63,null,"DN20","20个",null,null,"联塑","合格国标"]
[64,null,"DN63","20个",null,null,"联塑","合格国标"]
[65,null,"DN50","20个",null,null,"联塑","合格国标"]
[66,"PP-R弯头","DN25","30个",null,null,"联塑","合格国标"]
[67,null,"DN32","15个",null,null,"联塑","合格国标"]
[68,null,"DN20","20个",null,null,"联塑","合格国标"]
[69,"PP-R三通","50×32","10个",null,null,"联塑","合格国标"]
[70,{"$nulls":5},"联塑","合格国标"]
[71,null,"40×32","10个",null,null,"联塑","合格国标"]
[72,"PP-R热水直管","DN63","1根",null,null,"联塑","合格国标"]
[73,null,"DN50","1根",null,null,"联塑","合格国标"]
[74,null,"DN40","1根",null,null,"联塑","合格国标"]
[75,null,"DN32","3根",null,null,"联塑","合格国标"]
[76,null,"DN25","3根",null,null,"联塑","合格国标"]
[77,"蝶阀","DN100","5个",null,null,"天津唐沽","合格国标"]
[78,null,"DN80","3个",{"$nulls":3},"合格国标"]
[79,"立式冷水表","DN25","10块",null,null,"石林","合格国标"]
[80,null,"DN20","10块",{"$nulls":3},"合格国标"]
[81,"平式冷水表","DN20","10块",null,null,"石林","合格国标"]
[82,"铜浮球阀(铜制)","DN50","10套",{"$nulls":3},"合格国标"]
[83,null,"DN40","5套",{"$nulls":3},"合格国标"]
[null,"合计"]
["备注：1.供应期限：2020年8月1日-2023年7月31日。2.投标人需完整填写表1-表5中的单价、保修期、品牌以及合计单价，出现漏项的报价无效。                                                                               2.投标人在签章处及合计单价处盖公司章，未盖章的报价单无效。"]

{"sheet":"学生宿舍维修常用材料报价表","index":4,"n_rows":47,"n_cols":8,"rows_kept":47,"merged":[[0,0,0,7],[1,0,1,7],[20,1,21,1],[22,1,23,1],[24,1,26,1],[27,1,28,1],[29,1,30,1],[31,1,32,1],[33,1,36,1],[37,1,41,1],[42,2,44,2],[46,0,46,7]],"flags":["formulas_cached_only"]}
["表5：学生宿舍维修常用材料报价表"]
["投标人(签章)：                                            日期：   年   月  日"]
["序号","材料名称","规格型号","预估数量","单价（元）","保修期（天）","品牌","备注"]
[1,"球形灯泡","25W磨砂","3000个",null,null,"佛山照明","合格国标"]
[2,"LED灯管","T8-16W","300根",null,null,"佛山照明","合格国标"]
[3,"LED一体化灯架","T5-8W","200套",null,null,"佛山照明","合格国标"]
[4,"T5日光灯管","28W","100根",null,null,"佛山照明","合格国标"]
[5,"LED声控开关","明装型","200个",{"$nulls":3},"合格国标"]
[6,"防水绝缘胶带","加厚型","50卷",{"$nulls":3},"合格国标"]
[7,"电子镇流器（超薄型）","T5-28W","20个",null,null,"佛山照明","合格国标"]
[8,"单相电度表","10-40A","30块",null,null,"德力西","合格国标"]
[9,"圆形面包吸顶灯（底座加厚）","13 W","10盏",{"$nulls":3},"合格国标"]
[10,"双联开关（暗装）","86型-10A","20只",null,null,"联峰","合格国标"]
[11,"单联开关（暗装）","86型-10A","20只",null,null,"联峰","合格国标"]
[12,"双联开关（明装）","86型-10A","10只",null,null,"联峰","合格国标"]
[13,"双联开关（暗装）","86型-10A","50个",null,null,"联峰","合格国标"]
[14,"五孔插座（暗装）","86型-16A","10个",null,null,"联峰","合格国标"]
[15,"五孔插座（明装）","86型-10A","10个",null,null,"联峰","合格国标"]
[16,"1P空开带漏电保护器","10A","50只",null,null,"德力西","合格国标"]
[17,"1P空气开关","DZ47-10A","20只",null,null,"德力西","合格国标"]
[18,"2P空气开关","DZ47-40A","10只",null,null,"德力西","合格国标"]
[19,null,"DZ47-20A","10只",null,null,"德力西","合格国标"]
[20,"三相空气开关","DZ47-100A","5只",null,null,"德力西","合格国标"]
[21,null,"DZ47-63A","30只",null,null,"德力西","合格国标"]
[22,"LED模组光源","24W","50只",null,null,"佛山照明","合格国标"]
[23,null,"13W","100盏",null,null,"佛山照明","合格国标"]
[24,null,"9W","50只",null,null,"佛山照明","合格国标"]
[25,"电子头","40W","100对",null,null,"三雄极光","合格国标"]
[26,null,"30W","30对",null,null,"三雄极光","合格国标"]
[27,"普通日光灯管","40W","200根",null,null,"佛山照明","合格国标"]
[28,null,"30W","500根",null,null,"佛山照明","合格国标"]
[29,"单管日光灯架（无罩）","30W","30套",{"$nulls":3},"合格国标"]
[30,null,"40W","20套",{"$nulls":3},"合格国标"]
[31,"BVR铜芯电线","2.5mm2","4圈",null,null,"昆电电工","合格国标"]
[32,null,"4mm2","4圈",null,null,"昆电电工","合格国标"]
[33,null,"6mm2","1圈",null,null,"昆电电工","合格国标"]
[34,null,"10mm2","1圈",null,null,"昆电电工","合格国标"]
[35,"卫生间PVC门芯","1.90×0.69","20道",{"$nulls":3},"合格国标"]
[36,null,"1.90×0.68","5道",{"$nulls":3},"合格国标"]
[37,null,"1.90×0.70","5道",{"$nulls":3},"合格国标"]
[38,null,"1.83×0.68","5道",{"$nulls":3},"合格国标"]
[39,null,"2.0×0.67","5道",{"$nulls":3},"合格国标"]
[40,"椅子座板（常规尺寸）","15mm厚封边颗粒板","200块",{"$nulls":3},"合格国标"]
[41,"椅子背板（常规尺寸）",null,"50块",{"$nulls":3},"合格国标"]
[42,"床板1.9*0.9米",null,"30块",{"$nulls":3},"合格国标"]
[null,"合计"]
["备注：1.供应期限：2020年8月1日-2023年7月31日。2.投标人需完整填写表1-表5中的单价、保修期、品牌以及合计单价，出现漏项的报价无效。                                                                               2.投标人在签章处及合计单价处盖公司章，未盖章的报价单无效。"]